## Sheet1
Determining Impacts: YSI Turbidity Standard Change Data | [13 empty] | 1 | 2 | 3 | 4 | numbers: priority of matching the metadata between the two standards
Calibration Date (D) | Program | Sonde ID/Sensor ID | "Old Standard" Calibration Reading (FNU) | Post-Cal Date (F) | "New" Standard Post-Measurement Check Reading (FNU) | Deviation from the ideal standard value (FNU) | Deviation (%) | Expected variance from calibration drift? | Site name | "Ideal" Post-Cal Value - New Std | Actual Post-Cal Value - New Std | "Ideal" Post-Cal Value - Old Std | Actual Post-Cal Value - Old Std | Program Metadata (Ideally Same) | Date (Month) Metadata (Ideally Same) | Station Metadata (Ideally Same) | Sonde Metadata (Ideally Same)
12/5/2024 (EXAMPLE) | QA (EXAMPLE) | 23B190689 (EXAMPLE) | 124 (EXAMPLE) | 01/09/2024 (EXAMPLE) | 134 (EXAMPLE) | 10 | 0 | 3% Example |  | 124
2024-06-03 | WQA | SM-39 (19C103696) | 124 | 2024-07-03 | 125.81 | 1.81 | 1.4% |  |  | 124 | 125.81
2024-07-01 | WQA | SM-45 (19M102235) | 124 | 2024-08-08 | 124.72 | 0.72 | #REF! |  |  | 124 | 124.72
2024-07-24 | WQA | SM-21 (18C100685) | 124 | 2024-08-21 | 131.37 | 7.37 | #REF! |  |  | 124 | 131.37
2024-06-18 | WQA | SM-28 (18E100397) | 124 | 2024-07-25 | 124.67 | 0.67 | #REF! |  |  | 124 | 124.67
2024-07-31 | WQA | SM-29 (18E100398) | 124 | 2024-08-15 | 125.67 | 1.67 | #REF! |  |  | 124 | 125.67
2024-07-16 | WQA | SM-34 (21L101745) | 124 | 2024-08-02 | 120 | -4 | #REF! |  |  | 124 | 120
2024-08-01 | WQA | SM-49 | 124 | 2024-09-27 | 125.79 | 1.79 | #REF! |  |  | 124 | 125.79
2024-08-01 | WQA | SM-52 | 124 | 2024-09-26 | 122.21 | -1.79 | #REF! |  |  | 124 | 122.21
2024-05-20 | WQA | SM-53 | 124 | 2024-08-05 | 119 | -5 | #REF! |  |  | 124 | 119
2024-04-24 | WQA | SM-27 | 124 | 2024-06-21 | 116.45 | -7.55 | #REF! |  |  | 124 | 116.45
2024-04-24 | WQA | SM-44 | 124 | 2024-06-21 | 114.1 | -9.9 | #REF! |  |  | 124 | 114.1
2024-06-19 | WQA | SM-46 | 124 | 2024-09-06 | 120.62 | -3.38 | #REF! |  |  | 124 | 120.62
2024-07-01 | WQA | SM-22 (18C100686) | 124 | 2024-08-08 | 124.7 | 0.7 | #REF! |  |  | 124 | 124.7
2024-06-03 | WQA | SM-31 (18H106903) | 124 | 2024-07-03 | 124.57 | 0.57 | #REF! |  |  | 124 | 124.57
2024-06-18 | WQA | SM-20 (18C100684) | 124 | 2024-07-25 | 125.38 | 1.38 | #REF! |  |  | 124
2024-07-24 | WQA | SM-47 (19M101597) | 124 | 2024-08-21 | 133.07 | 9.07 | #REF! |  |  | 124
2024-04-25 | WQA | SM-23 | 124 | 2024-06-21 | 116.5 | -7.5 | #REF!
2024-06-12 | CEMP | RTM-100 | 123.88 | 2024-07-17 | 112.92 | -11.08 | -9.3%
2024-07-16 | CEMP | RTM-103 | 113.96 | 2024-08-16 | 133.85 | 9.85 | 16.1%
2024-06-10 | CEMP | RTM-94 | 126.88 | 2024-07-10 | 111.2 | -12.8 | -13.2%
2024-07-09 | CEMP | RTM-99 | 116.57 | 2024-08-15 | 130.52 | 6.52 | 11.3%
2024-06-19 | CEMP | RTM-78 | 123.5 | 2024-07-19 | 112.04 | -11.96 | -9.7%
2024-07-17 | CEMP | RTM-55 | 113.55 | 2024-08-07 | 123.99 | -0.01 | 8.8%
2024-06-19 | CEMP | RTM-79 | 123.27 | 2024-07-19 | 113.51 | -10.49 | -8.2%
2024-07-16 | CEMP | RTM-104 | 114.26 | 2024-08-16 | 133.96 | 9.96 | 15.9%
2024-06-05 | CEMP | RTM-81 | 124.03 | 2024-07-18 | 113.78 | -10.22 | -8.6%
2024-07-15 | CEMP | RTM-80 | 113.84 | 2024-08-22 | 122.8 | -1.2 | 7.6%
2024-06-05 | CEMP | RTM-80 | 123.15 | 2024-07-09 | 111.4 | -12.6 | -10%
2024-07-01 | CEMP | RTM-90 | 113.12 | 2024-07-24 | 127.99 | 3.99 | 12.3%
2024-06-17 | CEMP | RTM-55 | 122.45 | 2024-07-17 | 113.55 | -10.45 | -7.5%
2024-06-17 | CEMP | RTM-65 | 122.94 | 2024-07-17 | 116.49 | -7.51 | -5.4%
2024-06-10 | CEMP | RTM-64 | 124.97 | 2024-07-11 | 110.3 | -13.7 | -12.5%
2024-07-09 | CEMP | RTM-111 | 112.4 | 2024-08-15 | 133.52 | 9.52 | 17.2%
2024-07-09 | CEMP | RTM-56 | 115.8 | 2024-09-18 | 124.71 | 0.71 | 7.4%
2024-07-30 | CEMP | RTM-81 | 114.61 | 2024-08-21 | 134.22 | 10.22 | 15.8%
2024-07-30 | CEMP | RTM-82 | 115.61 | 2024-08-21 | 132.96 | 8.96 | 14%
2024-07-30 | CEMP | RTM-85 | 113.2 | 2024-08-21 | 134.55 | 10.55 | 17.2%
2024-07-30 | CEMP | RTM-93 | 120.18 | 2024-08-21 | 133.67 | 9.67 | 10.6%
2024-06-19 | CEMP | RTM-92 | 122.9 | 2024-07-30 | 114.44 | -9.56 | -7.1%
2024-07-17 | CEMP | RTM-65 | 116.49 | 2024-08-06 | 124.06 | 0.06 | 6.3%
2024-06-17 | CEMP | RTM-106 | 123.82 | 2024-07-17 | 112.4 | -11.6 | -9.7%
2024-07-15 | CEMP | RTM-108 | 114.03 | 2024-08-07 | 123.28 | -0.72 | 7.8%
2024-06-17 | CEMP | RTM-114 | 123.68 | 2024-07-17 | 116.7 | -7.3 | -5.8%
2024-07-15 | CEMP | RTM-110 | 114.1 | 2024-08-07 | 114.86 | -9.14 | 0.7%
2024-06-19 | CEMP | RTM-105 | 122.9 | 2024-07-17 | 113.7 | -10.3 | -7.8%
2024-07-17 | CEMP | RTM-106 | 112.4 | 2024-08-22 | 123.99 | -0.01 | 9.8%
2024-06-19 | CEMP | RTM-91 | 123.36 | 2024-07-17 | 113.8 | -10.2 | -8.1%
2024-07-17 | CEMP | RTM-114 | 116.7 | 2024-08-23 | 124.11 | 0.11 | 6.2%
2024-06-10 | CEMP | RTM-102 | 125.62 | 2024-07-10 | 112.2 | -11.8 | -11.3%
2024-07-09 | CEMP | RTM-87 | 122.78 | 2024-08-15 | 135.7 | 11.7 | 10%
2024-06-10 | CEMP | RTM-71 | 124.8 | 2024-07-11 | 112 | -12 | -10.8%
2024-07-09 | CEMP | RTM-101 | 112.71 | 2024-08-15 | 135.14 | 11.14 | 18.1%
2024-06-03 | NCRO | ND-8 | 124.46 | 2024-07-03 | 113.99 | -10.01
2024-06-03 | NCRO | ND-3 | 123.58 | 2024-07-03 | 114.47 | -9.53
2024-06-03 | NCRO | XO2-76 | 124.41 | 2024-07-10 | 116.99 | -7.01
2024-06-03 | NCRO | XO2-86 | 122.36 | 2024-07-10 | 116.85 | -7.15
2024-06-03 | NCRO | XO2-62 | 138.66 | 2024-07-10 | 105.53 | -18.47
2024-06-05 | NCRO | XO2-71 | 124.64 | 2024-07-02 | 114.3 | -9.7
2024-06-05 | NCRO | XO2-75 | 125.04 | 2024-07-02 | 114.25 | -9.75
2024-06-10 | NCRO | XO2-14 | 124.01 | 2024-07-10 | 115.27 | -8.73
2024-06-10 | NCRO | XO2-97 | 124.04 | 2024-07-10 | 113.53 | -10.47
2024-06-10 | NCRO | XO2-27 | 125.25 | 2024-07-10 | 116 | -8
2024-06-10 | NCRO | XO2-46 | 123.94 | 2024-07-02 | 115.04 | -8.96
2024-06-10 | NCRO | XO2-37 | 124.88 | 2024-07-02 | 113.2 | -10.8
2024-06-10 | NCRO | XO2-09 | 124.23 | 2024-07-02 | 113 | -11
2024-06-11 | NCRO | ND-1 | 120.5 | 2024-07-09 | 116.28 | -7.72
2024-06-11 | NCRO | ND-2 | 123.39 | 2024-07-09 | 113.19 | -10.81
2024-06-11 | NCRO | ND-4 | 124.06 | 2024-07-09 | 115.22 | -8.78
2024-06-24 | NCRO | XO2-106 | 123.77 | 2024-07-17 | 113.9 | -10.1
2024-06-24 | NCRO | XO2-84 | 124.62 | 2024-07-16 | 113.23 | -10.77
2024-06-24 | NCRO | XO2-87 | 124.48 | 2024-07-17 | 111.28 | -12.72
2024-06-24 | NCRO | XO2-66 | 124.7 | 2024-07-16 | 111.9 | -12.1
2024-06-24 | NCRO | XO2-02 | 123.8 | 2024-07-16 | 112.77 | -11.23
2024-06-25 | NCRO | XO2-98 | 121.73 | 2024-07-17 | 112.52 | -11.48
2024-06-25 | NCRO | XO2-99 | 118.19 | 2024-07-17 | 115.33 | -8.67
2024-07-01 | NCRO | XO2-48 | 113.83 | 2024-08-06 | 134.92 | 10.92
2024-07-01 | NCRO | XO2-59 | 115.67 | 2024-08-06 | 132.12 | 8.12
2024-07-01 | NCRO | ND-6 | 112.71 | 2024-08-07 | 126.74 | 2.74
2024-07-01 | NCRO | XO2-70 | 117.44 | 2024-08-06 | 133.78 | 9.78
2024-07-01 | NCRO | XO2-82 | 115.01 | 2024-08-06 | 134.33 | 10.33
2024-07-01 | NCRO | XO2-07 | 109.78 | 2024-08-06 | 133.47 | 9.47
2024-07-01 | NCRO | ND-5 | 112.37 | 2024-08-07 | 127.21 | 3.21
2024-07-08 | NCRO | XO2-80 | 116.86 | 2024-08-15 | 124.06 | 0.06
2024-07-08 | NCRO | XO2-32 | 114.96 | 2024-08-15 | 124.04 | 0.04
2024-07-08 | NCRO | XO2-24 | 113.32 | 2024-08-15 | 124.44 | 0.44
2024-07-08 | NCRO | XO2-91 | 132.75 | 2024-08-08 | 124 | 0 | #REF!
2024-07-09 | NCRO | XO2-64 | 113.92 | 2024-08-07 | 124.48 | 0.48
2024-07-09 | NCRO | XO2-09 | 113.06 | 2024-08-07 | 123.31 | -0.69
2024-07-15 | NCRO | XO2-14 | 114.35 | 2024-08-22 | 122.76 | -1.24
2024-07-15 | NCRO | XO2-97 | 113.08 | 2024-08-15 | 124.47 | 0.47
2024-07-15 | NCRO | XO2-27 | 114.08 | 2024-08-21 | 123.81 | -0.19
2024-07-15 | NCRO | XO2-76 | 116.55 | 2024-08-22 | 123.53 | -0.47
2024-07-15 | NCRO | XO2-06 | 116.16 | 2024-08-15 | 124.99 | 0.99
2024-07-15 | NCRO | XO2-62 | 106.11 | 2024-08-21 | 130.4 | 6.4
2024-08-05 | NCRO | ND-2 | 124.93 | 2024-09-05 | 115.04 | -8.96
2024-08-05 | NCRO | XO2-66 | 124.61 | 2024-09-05 | 112.87 | -11.13
2024-08-05 | NCRO | XO2-84 | 124.45 | 2024-09-05 | 113.99 | -10.01
2024-08-05 | NCRO | XO2-99 | 126.33 | 2024-09-05 | 114.04 | -9.96
2024-08-05 | NCRO | ND-1 | 137.12 | 2024-09-05 | 114.42 | -9.58
2024-08-06 | NCRO | XO2-87 | 121.89 | 2024-09-04 | 116.6 | -7.4
2024-08-06 | NCRO | XO2-07 | 135.58 | 2024-09-05 | 115.44 | -8.56
2024-08-06 | NCRO | XO2-02 | 126.48 | 2024-09-04 | 116.22 | -7.78
2024-06-11 | NCRO | XO2-44 | 124.41 | 2024-07-17 | 114.6 | -9.4
2024-06-11 | NCRO | XO2-67 | 124.79 | 2024-07-17 | 113.67 | -10.33
2024-06-11 | NCRO | XO2-17 | 123 | 2024-07-17 | 116.19 | -7.81
2024-06-11 | NCRO | XO2-42 | 124.29 | 2024-07-17 | 113.16 | -10.84
2024-06-11 | NCRO | XO2-67 | 124.79 | 2024-07-17 | 113.67 | -10.33
2024-06-11 | NCRO | XO2-44 | 124.41 | 2024-07-17 | 114.6 | -9.4
2024-06-12 | NCRO | XO2-81 | 124.96 | 2024-07-16 | 114.43 | -9.57
2024-06-11 | NCRO | XO2-67 | 124.79 | 2024-08-12 | 114.06 | -9.94
2024-06-12 | NCRO | XO2-40 | 124.13 | 2024-07-17 | 114.12 | -9.88
2024-06-11 | NCRO | XO2-44 | 124.41 | 2024-08-12 | 113.35 | -10.65
2024-06-11 | NCRO | XO-42 | 124.49 | 2024-07-17 | 113.16 | -10.84
2024-06-12 | NCRO | XO2-25 | 123.69 | 2024-07-16 | 113.1 | -10.9
2024-07-17 | NCRO | XO2-42 | 113.16 | 2024-08-12 | 112.94 | -11.06
2024-06-11 | NCRO | XO2-17 | 123 | 2024-07-17 | 116.19 | -7.81
2024-06-12 | NCRO | XO2-13 | 124.34 | 2024-07-16 | 114.14 | -9.86
2024-08-12 | NCRO | XO2-17 | 124.11 | 2024-08-12 | 116.51 | -7.49
2024-08-07 | NCRO | XO2-76 | 124.48 | 2024-07-10 | 116.99 | -7.01
2024-07-09 | NCRO | XO2-64 | 113.92 | 2024-08-07 | 124.48 | 0.48
2024-08-06 | NCRO | XO2-87 | 121.89 | 2024-09-04 | 116.6 | -7.4
2024-06-03 | NCRO | XO2-62 | 138.66 | 2024-07-10 | 105.53 | -18.47
2024-07-09 | NCRO | XO2-09 | 113.06 | 2024-08-07 | 123.31 | -0.69
2024-08-06 | NCRO | XO2-02 | 126.48 | 2024-09-04 | 116.22 | -7.78
2024-09-03 | NCRO | XO2-62 | 128.95 | 2024-10-03 | 116.91 | -7.09
2024-06-03 | NCRO | XO2-86 | 122.36 | 2024-07-10 | 116.85 | -7.15
2024-08-06 | NCRO | XO2-07 | 135.58 | 2024-09-04 | 115.44 | -8.56